AQUAPANEL® Cement Board Floor

#### Timber joist floor with dry floor without fill Rw = 61 dB, Ln, w = 51 dB

Specification examples

| Item | Quantity / ME | Description of service | Unit cost | Total cost |
| --- | --- | --- | --- | --- |
|  | m2 m2 | Prepare batten floor for receiving a dry floor, remove any coatings present, rescrew loose battens, replace damaged ones. Lay AQUAPANEL® Cement Board Floor MF, 33 mm, cement-bonded dry floor element with surrounding slot, in accordance with the processing instructions of Knauf Aquapanel GmbH & Co. KG. |  |  |